COSHH Task Assessment Hollins & Reed Contracting Ltd

| Project or site Basement fit-out, Block B |  | Trade Groundworks |  | Date assessed 5 October 2026 |  | Assessment ref CA-013 |
| --- | --- | --- | --- | --- | --- | --- |

| What the work makes |  |  |  |
| --- | --- | --- | --- |
| Task | Running plant | Material worked | Diesel engines |
| Dust or fume made | Diesel engine exhaust | Tool used | Generator, 1 tonne dumper |
| Where | Partly enclosed basement | How long a shift | Dumper up to 2 hours a day |

| Exposure limit |  |  |  |
| --- | --- | --- | --- |
| WEL, 8-hour | None for exhaust. CO 20, NO2 0.5 ppm | WEL, 15-minute | CO 100, NO2 1 ppm |
| Monitoring result | CO2 640 ppm, an indicator | Measured on | 2 October 2026 |

| Who could be harmed | People doing it | Others nearby | Cleaners, fitters | Visitors, public | Higher risk |
| --- | --- | --- | --- | --- | --- |
| Driver, everyone in the basement | ☒ | ☒ | ☐ | ☐ | ☐ |

Health effects

Irritates eyes and airways. Long exposure, above all to blue or black smoke, can cause coughing and breathlessness.

Repeated exposure over many years can increase the risk of lung cancer.

| Controls | In place | Still needed |
| --- | --- | --- |
| Another method | Generator outside, exhaust away from the fan. | Price an electric dumper. |
| On-tool extraction | Not used on the dumper. |  |
| Water suppression | Not used on exhaust. |  |
| Room ventilation | Fan blows fresh air in. Ramp doors open. |  |
| Fewer, for less time | Engine off when idle. One dumper down at a time. |  |
| Clean-up | Soot on walls means control is failing: stop. |  |

| RPE: type and filter | Disposable | Half mask | Powered | Face-fit tested | Eye protection |
| --- | --- | --- | --- | --- | --- |
| Not used. RPE is the last resort. | ☐ | ☐ | ☐ | ☐ | ☐ |

| Also needed | Yes | No | Detail | Next due |
| --- | --- | --- | --- | --- |
| Exposure monitoring | ☒ | ☐ | CO2 meter. Over 1000 ppm: stop, check fan. | Weekly |
| Health surveillance | ☐ | ☒ | None required for exhaust. Irritation: stop. |  |
| LEV examination | ☐ | ☒ | None used. |  |
| Training | ☒ | ☐ | Smoke colours, engine off, fan, soot. | Before start |

| Further action | Who | By when | Checked |
| --- | --- | --- | --- |
| Dumper serviced, no blue or black smoke | DH | Before start |  |
| Fan and CO2 meter on site | DH | Before start |  |

| Assessed by Dan Hollins |  | Signed |  | Date 5 October 2026 |  | Next review 5 October 2027 |
| --- | --- | --- | --- | --- | --- | --- |