## COSHH Task Assessment
COSHH Task Assessment
Hollins & Reed Contracting Ltd
Project or site | [5 empty] | Trade | [5 empty] | Date assessed |  |  |  | Assessment ref
House refurbishment, House 7 | [5 empty] | Drylining | [5 empty] | 5 October 2026 |  |  |  | CA-011
What the work makes
Task | Cutting, sanding joints | [7 empty] | Material worked |  |  |  |  | Plasterboard, jointing compound
Dust or fume made | Gypsum dust, inhalable | [7 empty] | Tool used |  |  |  |  | Handsaw, rasp, pole sander
Where | Indoors, one room at a time | [7 empty] | How long a shift |  |  |  |  | About 3 hours
Exposure limit
WEL, 8-hour | Gypsum 10 mg/m³, respirable 4 | [7 empty] | WEL, 15-minute |  |  |  |  | None listed
Monitoring result | Not measured | [7 empty] | Measured on |  |  |  |  | Not measured
Who could be harmed |  |  |  | People doing it |  | Others nearby |  |  |  |  | Cleaners, fitters |  |  | Visitors, public |  | Higher risk
Dryliner, others, cleaner |  |  |  | ☒ |  | ☒ |  |  |  |  | ☒ |  |  | ☐ |  | ☐
Health effects
Breathing a lot of dust can damage the lungs and airways. Gypsum has very little silica, but board dust can carry some.
Jointing compound and plasters may hold quartz: read their sheet.
Controls |  |  | In place | [9 empty] | Still needed
Another method |  |  | Tapered-edge boards. Handsaw and rasp, not a power saw.
On-tool extraction |  |  | Pole sander on an M class unit.
Water suppression |  |  | Not used on board.
Room ventilation |  |  | Window open, door shut to other rooms.
Fewer, for less time |  |  | Only the dryliner in the room while sanding.
Clean-up |  |  | Class M vacuum. No dry sweeping.
RPE: type and filter |  |  |  |  | Disposable |  |  | Half mask |  |  |  | Powered |  |  | Face-fit tested |  |  | Eye protection
APF 20 for sanding: disposable FFP3. |  |  |  |  | ☒ |  |  | ☐ |  |  |  | ☐ |  |  | ☒ |  |  | ☐
Also needed |  | Yes |  |  | No |  | Detail | [9 empty] | Next due
Exposure monitoring |  | ☐ |  |  | ☒ |  | Extraction checked daily. Dust escaping: stop.
Health surveillance |  | ☐ |  |  | ☒ |  | Only if a cough or wheeze is reported.
LEV examination |  | ☒ |  |  | ☐ |  | Examined at least every 14 months. | [9 empty] | March 2027
Training |  | ☒ |  |  | ☐ |  | Extraction, clean shaven, clean-up. | [9 empty] | Before start
Further action | [9 empty] | Who |  |  |  |  | By when |  |  | Checked
Sander and M class unit on site | [9 empty] | DH |  |  |  |  | Before start
Assessed by |  |  |  |  | Signed | [6 empty] | Date |  |  |  | Next review
Dan Hollins | [11 empty] | 5 October 2026 |  |  |  | 5 October 2027
Worked example. Change it to fit your job before you use it.