	Confined Space Entry Permit
Hollins & Reed Contracting Ltd



	Permit no.
HR-0420
	Site
Unit 3, Canal Side Business Park
	Exact location
Foul manhole MH2, east yard



	Details
	
	
	
	
	

	Contractor
	Hollins & Reed
	Issued to
	Priya Shah
	Valid from
	15/10/26 09:00

	Valid to
	15/10/26 14:00
	RAMS ref
	HR-RAMS-10
	Isolation cert
	Stopper T1



	The work
	

	Space and entry point
	Foul manhole MH2, 2.4 m deep, 1.2 m across. One entry, the top cover.

	Work to be done
	Join the new drain through the chamber wall. Two to lift the pipe. Make good the benching.

	Why entry, time limit
	The joint cannot be made from the surface. Two entries, 45 minutes each.



	Hazards
	
	
	
	
	
	
	

	Oxygen low or high
	☒
	Toxic gas
	☒
	Flammable air
	☒
	Engulfment
	☒

	Heat
	☐
	Drowning
	☒
	Restricted entry
	☒
	Power, machinery
	☐



	Precautions
	Done
	By

	Space isolated and locked off
	☒
	Priya Shah, tied off

	Cleaned, purged and ventilated
	☒
	Reece Ollerton, fan on

	Air tested before entry and during
	☒
	Priya Shah

	Supervisor and top person named
	☒
	Dan Hollins, Priya Shah

	Communication agreed
	☒
	Radio and line signals

	Rescue plan and equipment ready
	☒
	Dan Hollins, drilled

	Harness and line
	☒
	Both entrants

	Safe lighting and tools
	☒
	Rated for the space

	Breathing apparatus where needed
	☐
	Not needed. Escape sets

	How emergency services are called
	☒
	Priya Shah, 999



	What is isolated
	How
	Locked
	Tag
	Proved by

	Incoming foul drain
	Stopper at MH1, tied off
	☐
	T1
	Priya Shah



	Equipment
	
	
	
	
	
	
	

	Gas monitor
	☒
	Tripod and winch
	☒
	Escape BA
	☒
	Radio
	☒

	Lighting
	☒
	
	☐
	
	☐
	
	☐



	Other conditions

	Out on any alarm, falling oxygen or a reading moving towards a limit. Our limits CO 20 ppm, H2S 5 ppm, gas 10% LEL.

	Test oxygen, then gas, then toxics, from the top by probe. Top person stays out. Rescue by winch from the surface.



	Sign-off
	Name
	Signature
	Date
	Time

	Issued: precautions checked
	Dan Hollins
	signed
	15/10/26
	08:55

	Accepted: permit understood
	Priya Shah
	signed
	15/10/26
	09:00



	Confined Space Entry Permit
Hollins & Reed Contracting Ltd



	Permit no.
HR-0420
	Site
Unit 3, Canal Side Business Park
	Exact location
Foul manhole MH2, east yard



	Gas tests

	Time
	O2 %
	LEL %
	CO ppm
	H2S ppm
	By

	08:40
	20.8
	0
	0
	1
	Priya Shah

	09:10
	20.9
	0
	0
	0
	Priya Shah

	09:50
	20.9
	0
	0
	0
	Priya Shah

	11:00
	20.8
	0
	0
	1
	Priya Shah

	11:40
	20.9
	0
	0
	0
	Priya Shah

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	



	People in the space: name
	Company
	Briefed
	In
	Out

	Reece Ollerton
	Hollins & Reed
	☒
	09:15
	09:55

	Joe Penketh
	Hollins & Reed
	☒
	09:15
	09:55

	Reece Ollerton
	Hollins & Reed
	☒
	11:05
	11:45

	Joe Penketh
	Hollins & Reed
	☒
	11:05
	11:45

	
	
	☐
	
	

	
	
	☐
	
	



	Cancellation
	

	All out at
	11:45. Both entrants counted out.

	Space secured
	Cover back on at 12:10. Stopper out at MH1, drain running.

	Equipment removed
	Tripod, fan, monitors and lines off the yard by 12:30.



	Handback
	

	Isolations removed
	Stopper T1 removed by Priya Shah at 12:05

	Area returned to
	Thornley Vale Estates Ltd, site keyholder

	Notes
	Readings in the job file. Both entrants washed down after each entry.



	Sign-off
	Name
	Signature
	Date
	Time

	Extended: new end time
	Not extended
	
	
	

	Cancelled: area checked
	Dan Hollins
	signed
	15/10/26
	12:35

	Handed back: area returned
	Dan Hollins
	signed
	15/10/26
	12:40
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