## Permit to Work
Permit to Work
Hollins & Reed Contracting Ltd
Permit no. |  | Site | [8 empty] | Exact location
HR-0421 |  | High street bank branch | [8 empty] | Banking hall, reception end
Details
Contractor | Hollins & Reed |  |  |  | Issued to |  |  |  | Priya Shah |  |  |  |  | Valid from | [5 empty] | 19/10/26 18:30
Valid to | 20/10/26 05:30 |  |  |  | RAMS ref |  |  |  | HR-RAMS-11
The work
Work to be done |  |  | Take out the old reception desk and two partitions. Fit the new ones from drawing HR-D-05.
Plant and equipment |  |  | Hand tools, cordless drivers, sack truck. Panels arrive cut to size: no cutting in the hall.
Hazards
Services |  | ☒ | Height |  |  |  | ☐ |  |  | Confined space | [5 empty] | ☐ | Hot work | [5 empty] | ☐
Lifting |  | ☐ | Traffic |  |  |  | ☐ |  |  | COSHH substances | [5 empty] | ☐ | Other | [5 empty] | ☒
Precautions | [12 empty] | Done |  |  |  |  | By
Intruder alarm zone 2 isolated, fire alarm stays on | [12 empty] | ☒ |  |  |  |  | Alarm engineer
Power to the old desk isolated and proved dead | [12 empty] | ☒ |  |  |  |  | Bank's electrician
Exits and the rear corridor kept clear all night | [12 empty] | ☒ |  |  |  |  | Reece Ollerton
Security told who is in, and their number on this permit | [12 empty] | ☒ |  |  |  |  | Dan Hollins
No hot work: the bank allows none on this permit | [12 empty] | ☒ |  |  |  |  | Dan Hollins
Waste out by the rear door only, door shut after each trip | [12 empty] | ☒ |  |  |  |  | Joe Penketh
What is isolated | [5 empty] | How | [5 empty] | Locked |  |  | Tag |  |  |  | Proved by
Intruder alarm zone 2 | [5 empty] | Bypassed at the panel | [5 empty] | ☐ |  |  | A1 |  |  |  | Alarm engineer
Desk ring circuit | [5 empty] | Way 9, breaker locked off | [5 empty] | ☒ |  |  | E1 |  |  |  | Bank's electrician
People on this permit: name | [7 empty] | Company | [12 empty] | Briefed
Priya Shah | [7 empty] | Hollins & Reed | [12 empty] | ☒
Reece Ollerton | [7 empty] | Hollins & Reed | [12 empty] | ☒
Joe Penketh | [7 empty] | Hollins & Reed | [12 empty] | ☒
Other conditions
One night, 18:30 to 05:30. Not finished by 05:00: stop, make safe, ring the duty manager. Intruder zone 2 bypassed 18:15, desk circuit proved dead 18:20, both before issue.
Other hazard: out of hours, one security officer alone. Security 0161 496 0178. Check in at 18:30, at 00:00 and on leaving. Nobody past the counter line.
Asbestos: none in the desk or partitions on the bank's register. Anything unexpected in the walls, stop and ask.
Sign-off |  |  |  | Name | [6 empty] | Signature | [7 empty] | Date |  |  | Time
Issued: precautions checked |  |  |  | Dan Hollins | [6 empty] | signed | [7 empty] | 19/10/26 |  |  | 18:25
Accepted: permit understood |  |  |  | Priya Shah | [6 empty] | signed | [7 empty] | 19/10/26 |  |  | 18:28
Worked example of a made-up job. Not a permit. · Page 1 of 2
Permit to Work
Hollins & Reed Contracting Ltd
Permit no. |  | Site | [8 empty] | Exact location
HR-0421 |  | High street bank branch | [8 empty] | Banking hall, reception end
Cancellation
Work stopped at |  |  | 04:50. New desk and both partitions fitted.
Area checked |  |  | Hall swept and walked at 05:00. Exits clear. Rear door shut, checked by security.
Equipment removed |  |  | Tools and waste out of the rear door by 04:58.
Handback
Isolations removed |  |  | Desk circuit back on at 05:05, by the bank's electrician. Intruder alarm zone 2 reinstated and tested at 05:10, by the alarm engineer.
Area returned to |  |  | The bank's duty manager, 05:10
Notes |  |  | Checked in with security 18:30, 00:00, 05:06. The bank's electrician connected and tested the new desk sockets before switching back on.
Sign-off |  |  |  | Name | [6 empty] | Signature | [7 empty] | Date |  |  | Time
Extended: new end time |  |  |  | Not extended
Cancelled: area checked |  |  |  | Dan Hollins | [6 empty] | signed | [7 empty] | 20/10/26 |  |  | 05:08
Handed back: area returned |  |  |  | Dan Hollins | [6 empty] | signed | [7 empty] | 20/10/26 |  |  | 05:10
Worked example of a made-up job. Not a permit. · Page 2 of 2