## Hot Work Permit
Hot Work Permit
Hollins & Reed Contracting Ltd
Permit no. |  | Site | [8 empty] | Exact location
HR-0417 |  | Unit 3, Canal Side Business Park | [8 empty] | Flat roof over the offices, north end
Details
Contractor | Hollins & Reed |  |  |  |  | Issued to |  |  | Priya Shah |  |  |  |  | Valid from |  |  |  |  | 12/10/26 08:00
Valid to | 12/10/26 17:00 |  |  |  |  | RAMS ref |  |  | HR-RAMS-07 |  |  |  |  | Fire risk ref |  |  |  |  | HR-FRA-03
The work
Hot work to be done |  |  | Torch-on felt cap sheet to 30 m² of flat roof, with parapet upstands and two outlets.
Method |  |  | One torch, one cylinder. Laps rolled. Upstands on low flame, gaps behind sealed first.
Why cold methods fail |  |  | Cold-applied sheet and a heat gun failed a test patch on 9 October. Neither bonded.
Hazards
Combustibles in 10 m |  | ☒ | Openings and voids |  |  |  |  | ☒ |  | Flammables nearby |  |  |  |  | ☒ | Dust or lint |  |  |  |  | ☐
Roof or wall linings |  | ☒ | Below, behind walls |  |  |  |  | ☒ |  | Sprinklers, alarms |  |  |  |  | ☒ | Occupied building |  |  |  |  | ☒
Precautions | [12 empty] | Done |  |  |  | By
Combustibles removed or covered | [12 empty] | ☒ |  |  |  | Priya Shah
Floors swept, combustible floors covered | [12 empty] | ☒ |  |  |  | Priya Shah
Openings and voids sealed | [12 empty] | ☒ |  |  |  | Priya Shah
Non-combustible screens up | [12 empty] | ☐ |  |  |  | Not needed. Open roof
Detectors isolated: who restores them | [12 empty] | ☒ |  |  |  | Dan Hollins, zone 3 only
Gas cylinders secured and checked | [12 empty] | ☒ |  |  |  | Priya Shah
Two extinguishers within reach: type | [12 empty] | ☒ |  |  |  | Two 9 kg dry powder
Fire watcher named, breaks covered | [12 empty] | ☒ |  |  |  | Reece Ollerton
How to raise the alarm | [12 empty] | ☒ |  |  |  | Break glass, ring 999
Hot work ends 2 hours before day end | [12 empty] | ☒
Others shielded from arc and sparks | [12 empty] | ☐ |  |  |  | Not needed. No arc
Fume: LEV or RPE | [12 empty] | ☐ |  |  |  | Not needed. Outdoors
Permit shown at the work | [12 empty] | ☒
Equipment
Extinguishers |  | ☒ | Fire blanket |  |  |  |  | ☒ |  | Hose reel |  |  |  |  | ☐ | Gas detector |  |  |  |  | ☐
Thermal camera |  | ☒ | Welding screens |  |  |  |  | ☐ | [6 empty] | ☐ | [5 empty] | ☐
Other conditions
Cylinder on a heat-insulating base, 3 m from the torch. Never use water on a bitumen fire.
Zone 3 goes back on for any break and when hot work ends. Client told first. Site office 0161 496 0142.
Sign-off |  |  |  |  | Name | [5 empty] | Signature | [6 empty] | Date |  | Time
Issued: precautions checked |  |  |  |  | Dan Hollins | [5 empty] | signed | [6 empty] | 12/10/26 |  | 07:50
Accepted: permit understood |  |  |  |  | Priya Shah | [5 empty] | signed | [6 empty] | 12/10/26 |  | 07:55
Worked example of a made-up job. Not a permit. · Page 1 of 2
Hot Work Permit
Hollins & Reed Contracting Ltd
Permit no. |  | Site | [8 empty] | Exact location
HR-0417 |  | Unit 3, Canal Side Business Park | [8 empty] | Flat roof over the offices, north end
Fire watch: continuous for 1 hour, then a check at 2 hours
When |  |  |  | Time |  |  | By |  |  |  |  | Result
During breaks |  |  |  | 12:15 to 12:45 |  |  | Reece Ollerton |  |  |  |  | Torch off for the break. Watched roof and void. Nothing found.
End of hot work |  |  |  | 14:45 |  |  | Reece Ollerton |  |  |  |  | Torch off, cylinder shut. Continuous watch started.
1 hour after the end |  |  |  | 15:45 |  |  | Reece Ollerton |  |  |  |  | Watched roof and void the whole hour. Thermal image shows no hot spots.
2 hours after the end |  |  |  | 16:45 |  |  | Dan Hollins |  |  |  |  | Roof and roof void checked. Nothing found.
Cancellation
Work stopped at |  |  | 14:45 on 12 October. Cap sheet finished.
Area checked, images kept |  |  | Roof and roof void walked at 16:45. Three thermal images in the job file.
Detectors restored by |  |  | Dan Hollins. Back on 12:15, off again 12:45, back on 14:50. Panel normal.
Equipment removed |  |  | Torch, hose and cylinder off the roof by 15:20.
Handback
Area returned to |  |  | Thornley Vale Estates Ltd, site keyholder
Notes |  |  | Outlets open again. Nothing to report.
Sign-off |  |  |  |  | Name | [5 empty] | Signature | [6 empty] | Date |  | Time
Extended: new end time |  |  |  |  | Not extended
Cancelled: area checked |  |  |  |  | Dan Hollins | [5 empty] | signed | [6 empty] | 12/10/26 |  | 16:50
Handed back: area returned |  |  |  |  | Dan Hollins | [5 empty] | signed | [6 empty] | 12/10/26 |  | 16:55
Worked example of a made-up job. Not a permit. · Page 2 of 2