## Working at Height Permit
Working at Height Permit
Hollins & Reed Contracting Ltd
Permit no. |  |  | Site | [9 empty] | Exact location
HR-0422 |  |  | Unit 5, Canal Side Business Park | [9 empty] | Flat roof, south section, inside the barrier
Details
Contractor |  | Hollins & Reed |  |  |  |  | Issued to |  |  | Owen Tattersall |  |  |  |  | Valid from |  |  |  |  | 22/10/26 07:45
Valid to |  | 22/10/26 12:30 |  |  |  |  | RAMS ref |  |  | HR-RAMS-12
The work
Where and how reached |  |  |  | Large felt roof, concrete deck. Fixed ladder to a hatch inside the barrier, 9 m from the edge.
Work to be done |  |  |  | Set the barrier. Two-hour condition survey, photos and moisture readings. Strike the barrier.
Why not from ground |  |  |  | Pole camera pictures on 15 October could not show if the felt is wet. That needs a meter.
Hazards
Fragile roof |  |  | ☒ | Unprotected edge |  |  |  | ☒ |  |  | Roof lights |  |  |  |  | ☒ | Weather | [5 empty] | ☒
Overhead lines |  |  | ☐ | People below |  |  |  | ☒ |  |  | Lone working |  |  |  |  | ☐ | Falling objects | [5 empty] | ☒
Precautions | [13 empty] | Done |  |  |  | By
Access equipment inspected | [13 empty] | ☒ |  |  |  | Dan Hollins
Edge protection in place | [13 empty] | ☐ |  |  |  | Barrier 2 m instead
Fragile surfaces covered or barriered | [13 empty] | ☒ |  |  |  | Barrier, by 08:50
Harness and anchor points | [13 empty] | ☐ |  |  |  | Not needed. No anchor
Rescue plan in place | [13 empty] | ☒ |  |  |  | See below
Exclusion zone below | [13 empty] | ☒ |  |  |  | Keyholder, cones
Weather checked | [13 empty] | ☒ |  |  |  | Readings, sheet 2
Tools tethered | [13 empty] | ☒ |  |  |  | Wrist straps
Lighting | [13 empty] | ☐ |  |  |  | Not needed. Daylight
Equipment
MEWP |  |  | ☐ | Tower |  |  |  | ☐ |  |  | Scaffold |  |  |  |  | ☐ | Harness | [5 empty] | ☐
Netting |  |  | ☐ |  |  |  |  | ☐ | [7 empty] | ☐ | [6 empty] | ☐
People on this permit: name | [8 empty] | Company | [11 empty] | Briefed
Owen Tattersall, Joe Penketh: survey | [8 empty] | Hollins & Reed | [11 empty] | ☒
Reece Ollerton, Priya Shah: barrier | [8 empty] | Hollins & Reed | [11 empty] | ☒
Other conditions
Issuer at the hatch while anyone works. Stay inside the barrier. Stop at a steady 8 m/s, our limit for this job, or on rain.
Rescue: no harness. Hurt or ill: ring 999, say fixed ladder, may need fire service. Issuer meets them at the hatch.
Sign-off | [5 empty] | Name | [5 empty] | Signature | [6 empty] | Date |  |  | Time
Issued: precautions checked | [5 empty] | Dan Hollins | [5 empty] | signed | [6 empty] | 22/10/26 |  |  | 07:35
Accepted: permit understood | [5 empty] | Owen Tattersall | [5 empty] | signed | [6 empty] | 22/10/26 |  |  | 07:40
Worked example of a made-up job. Not a permit. · Page 1 of 2
Working at Height Permit
Hollins & Reed Contracting Ltd
Permit no. |  |  | Site | [9 empty] | Exact location
HR-0422 |  |  | Unit 5, Canal Side Business Park | [9 empty] | Flat roof, south section, inside the barrier
Weather and equipment checks
Time | Wind |  |  |  | By | [7 empty] | Result
07:30 | 2.4 m/s |  |  |  | Reece Ollerton | [7 empty] | Read at the hatch, before issue. Dry. Under our limit.
07:45 | 2.6 m/s |  |  |  | Reece Ollerton | [7 empty] | All four briefed by the issuer. Barrier team up. Our method for this job: sections and weights hauled through the hatch on a rope, nobody on the ladder while a load moves. Line taped out from the hatch first, sections set from inside it, one setting, one watching. Nobody past the tape.
08:50 | 2.9 m/s |  |  |  | Dan Hollins | [7 empty] | Barrier done, weighted, 2 m from edges and roof lights. Team stopped while the issuer walked it. Team down.
09:00 | 3.1 m/s |  |  |  | Joe Penketh | [7 empty] | Survey team up. Dry. Under our limit.
10:00 | 4.4 m/s |  |  |  | Joe Penketh | [7 empty] | Dry. Both inside the barrier. Issuer at the hatch.
11:00 | 6.3 m/s |  |  |  | Joe Penketh | [7 empty] | Wind rising, cloud building. Last readings, then off the roof.
11:20 | 6.6 m/s |  |  |  | Reece Ollerton | [7 empty] | Under our limit. Barrier team up. Sections lifted back towards the hatch, nobody past the line. Issuer at the hatch.
11:55 | 7.1 m/s |  |  |  | Reece Ollerton | [7 empty] | Last section lowered through the hatch. Team down.
Cancellation
Work stopped at |  |  |  | 11:55. Survey done 11:10, barrier struck 11:55. All four down and counted.
Area left safe |  |  |  | Hatch shut and locked 12:00. Nothing left on the roof.
Equipment removed |  |  |  | Barrier sections to the van. Cones lifted 12:05.
Handback
Area returned to |  |  |  | Thornley Vale Estates Ltd, site keyholder, 12:15
Notes |  |  |  | Survey report to follow. Not part of this permit.
Sign-off | [5 empty] | Name | [5 empty] | Signature | [6 empty] | Date |  |  | Time
Extended: new end time | [5 empty] | Not extended
Cancelled: area checked | [5 empty] | Dan Hollins | [5 empty] | signed | [6 empty] | 22/10/26 |  |  | 12:10
Handed back: area returned | [5 empty] | Dan Hollins | [5 empty] | signed | [6 empty] | 22/10/26 |  |  | 12:15
Worked example of a made-up job. Not a permit. · Page 2 of 2