WORKED EXAMPLE: RISK ASSESSMENT AND METHOD STATEMENT

# Hanging office doors in existing linings, out of hours in a working building

Worked example. Change it to fit your job before you use it.

# Job details

| Company | Hollins & Reed Joinery Ltd |
| --- | --- |
| Site and work area | Second floor offices, 14 Mill Street, Stockport |
| Planned dates | 12 to 16 October 2026, 6 pm to 10 pm |
| Customer | Thornley Vale Estates Ltd |
| In charge on site | Dan Hollins |
| Team | Two joiners: Dan Hollins hangs the doors, cuts the recesses and is the first aider; Priya Shah is his deputy and trims the leaves. |
| Work | Hanging office doors in existing linings, out of hours in a working building |

# Work and boundaries

Hang non-fire doors. Areas: Meeting rooms 1 to 6

Not our work: Corridor, stair and lobby doors, which are fire doors.

# Working arrangement

Access: the floor or ground.

Other people will use parts of the area at times.

We work 6 pm to 10 pm on weekdays, once the staff have gone, with the cleaners told which room is closed. One room at a time, and every doorway is left hung or clear before we go. The building dates from 2006. The new leaves are 44 mm solid core, about 38 kg each on the delivery note, so they come up in the goods lift, move on a door trolley and two people lift each one. Three hinges rated for that weight go in the existing recesses in each lining. The fire door schedule shows these six rooms open off the open-plan office and none of their doors is a fire door. A fire door is only rated as the doorset it was tested with, so the corridor and stair doors are not part of this job. The old doors and offcuts go down the goods lift to our van each night.

# Emergency arrangements

Building alarm: stop, leave by the nearest stair, not the lift, and meet at the rear car park gate. Priya Shah rings 999 and gives 14 Mill Street, Stockport, second floor; Dan Hollins does if Priya is the one hurt. Dan is the first aider and the kit is in the tool store on the second floor. Priya then tells the night security officer on the Mill Street reception, who meets the crew at the main door and holds the lift.

# Planned method

|  | Set up the work area Confirm the work area and scope before starting. Keep other people outside the active work area. Keep entrances and escape routes clear. |
| --- | --- |
|  | Keep people clear of the work Agree how people get past or around the work while it is going on. Put barriers or signs where a route crosses the work. Do not leave open work unattended. |
|  | Check the door and fitting guide Check the leaf for damage before moving it. Confirm from the building's fire door schedule and the door itself that it is an ordinary internal door, not a fire door. Read the fitting instructions for this door and hardware. |
|  | Find hidden services Check the drawings, then use a detector, along any fixing line into a wall or floor. Mark what you find and keep fixings clear of it. If you are not sure what is there, do not drill. |
|  | Carry the doors safely Each leaf is 38 kg. It goes on the door trolley from the goods lift to the room, along a route cleared first. Two people lift it on and off the trolley, onto the trestles and into the opening, one calling the lift. |
|  | Take the old door off Wedge the leaf and have a second person hold it before the last hinge screw comes out. Stand it clear of the route and leave no opening unattended. |
|  | Check the size before trimming Measure the opening and hold the door in the frame before cutting. Check the maker’s trimming allowance first. |
|  | Control the dust when cutting Run every saw, router and planer on on-tool extraction to an M Class extractor, and never cut in a closed room without it. Wear an FFP3 mask (APF 20) when you sand or cut for any length of time, fit tested and clean-shaven, and keep other people out of the dust. |
|  | Limit noise and vibration Wear ear defenders when cutting. Note how long each person's hands are on each tool while it runs. Take the tool's vibration figure from the maker or HSE's table and check it fits how you use it. Points per hour times hours on the trigger, added up for the day, gives the exposure: 100 points is the action value, 400 is the limit. HSE's vibration calculator does the sum. Over 100, cut it with lower-vibration kit or less time, and never pass 400. Write the result down. Sharing the work does not replace this. Keep the tools maintained. |
|  | Trim and rout the door on trestles Lay the leaf flat on trestles and clamp it, never on its edge against a wall. Plane or saw to the marked line, then rout the hinge recesses with the jig clamped down. Wait for the cutter or blade to stop before lifting the tool. |
|  | Support the door while hanging it Put the leaf on wedges before lining up the hinges. Keep it supported until the hinge screws are secure. |
|  | Fit the latch and handles Pilot and cut the latch recess to the hardware instructions. Fix the latch, handles and keep plate with compatible fixings. |
|  | Check the finished door Open and close the door several times. Check the latch engages and the leaf clears the floor and frame. Tighten the remaining hinge screws after the position is right. |
|  | Clear and hand back the area Remove tools, waste and unused materials. Check the area is clean and ready to use. Tell the customer or whoever runs the site when the work is complete. |

# Risk assessment

| Hazard | Who might be harmed and how | Controls in place |
| --- | --- | --- |
| People entering the work area or tripping over materials Step 1 | Workers, occupants and visitors | Mark or barrier the active work area. Store tools and materials away from access routes. |
| People using the building or passing by walking into the work or over what it leaves Step 2 | Occupants, visitors, members of the public and workers | Keep the barriers and signs up while the work is active. Give people a clear way round where their normal route is blocked. |
| A damaged or unsuitable leaf is fitted and later fails Step 3 | The joiner and people using the doorway | Keep a damaged leaf out of the work area. Stop if a door or opening is marked as a fire door. It is outside this method. |
| A fixing hits a hidden cable or pipe Step 4 | The person doing the work and everyone nearby | Check again wherever the work moves. If you hit something, stop, keep clear and report it. |
| Back and shoulder injury from carrying heavy or long items Step 5 | Everyone handling materials | Use the door trolley, not a hand carry. Dan has assessed this two-person lift for the pair doing it, with HSE’s MAC tool or equivalent. |
| The old leaf drops as the last hinge lets go Step 6 | The joiners and people passing the doorway | Take the top hinge off last. Keep hands clear of the hinge edge. |
| Too much is trimmed and the door no longer fits Step 7 | The joiner and the person using the door | Mark the cut clearly. Stop if the required trim is more than the guide allows. |
| Wood and MDF dust from power cutting harms the lungs and can cause asthma Step 8 | The person cutting and anyone downwind | Connect an M-class extractor that fits the tool. Cut in one place, away from other trades, and clear up with a vacuum, not a brush or an air line. |
| Hearing damage and hand-arm vibration from power tools Step 9 | The person cutting | Use sharp blades and discs, which cut faster with less vibration. Warn people nearby before you start cutting. |
| The leaf slips off the trestles or a tool kicks back Step 10 | The joiner cutting | Check the trestles are stable before the leaf goes on. Unplug or remove the battery before changing a cutter or blade. |
| The leaf falls or fingers are trapped at the hinge edge Step 11 | The joiners and people passing the doorway | Keep the doorway controlled while hanging the leaf. Keep hands clear of the hinge gap. |
| A latch or handle fails so the door will not open Step 12 | People using or passing through the doorway | Use the supplied compatible hardware. Keep hands and tools clear while drilling and chiselling. |
| The door catches or will not latch Step 13 | People using the doorway | Keep the doorway controlled until the check is complete. Correct the hinge position before final fixing. |
| Debris, tools or unfinished work left in the area Step 14 | Workers, occupants and visitors | Remove waste by the agreed route. Record and protect any unfinished work. |