	Snag Sheet
Hollins & Reed Contracting Ltd



	Project
House extension, House 9
	Trade or subcontractor
Second-fix joiner
	Issued by
Dan Hollins
	Complete by
2 October 2026



	No.
	Location
	Description of snag
	Priority
	Done
	Date done
	Initials

	1
	Utility door
	Catches at the head and needs force to close
	Medium
	☒
	30/09/26
	PS

	2
	WC door
	Will not latch
	Medium
	☒
	30/09/26
	PS

	3
	Bedroom 4 door
	Gap to the jamb over 4 mm
	Medium
	☒
	30/09/26
	PS

	4
	Bedroom 4 door
	Lining more than 5 mm out of plumb
	Medium
	☐
	
	

	5
	En-suite door
	Door distorted more than 5 mm over its height
	Medium
	☐
	
	

	6
	Kitchen-diner door
	Gap under the door too small for the floor covering
	Medium
	☐
	
	

	7
	Landing cupboard door
	Hinge not flush, screw missing
	Medium
	☒
	30/09/26
	PS

	8
	Bedroom 4 door
	Door stop not fitted
	Low
	☒
	30/09/26
	PS

	9
	Utility door
	Handle loose
	Medium
	☒
	30/09/26
	PS

	10
	En-suite door
	Thumbturn does not engage
	High
	☒
	30/09/26
	PS

	11
	Hall door
	Architrave reveal not the same on both sides
	Low
	☐
	
	

	12
	Bedroom 4 door
	Architrave not parallel to the lining
	Low
	☐
	
	

	13
	Kitchen-diner door
	Architrave mitre open at the head
	Low
	☐
	
	

	14
	Landing door
	Architrave leg not cut square to the skirting
	Low
	☐
	
	

	15
	Kitchen-diner, window corner
	Internal skirting corner mitred and opening up, scribe it
	Low
	☐
	
	

	16
	Hall, wall end
	External skirting mitre open
	Low
	☐
	
	

	17
	Kitchen-diner, long wall
	Skirting joints not consistent, seen at 2 m in daylight
	Low
	☐
	
	

	18
	Bedroom 4
	Skirting gap to the floor over 5 mm, no covering laid
	Medium
	☐
	
	

	19
	Utility
	Skirting loose, gap to the wall
	Medium
	☐
	
	

	20
	Utility, by boiler pipes
	Skirting not scribed around the pipe
	Low
	☐
	
	

	21
	Bedroom 4
	Skirting fixed only at the ends and gapping
	Medium
	☐
	
	

	22
	En-suite
	Pipe boxing not square
	Low
	☐
	
	

	23
	Bedroom 4 window
	Window board not level across its depth
	Medium
	☐
	
	

	24
	Kitchen-diner window
	Seal missing at the window board
	Low
	☐
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	25
	Bedroom 4 window
	Window board not scribed to the reveal, gap showing
	Low
	☐
	
	

	26
	Stairs
	Handrail loose
	High
	☒
	30/09/26
	PS

	27
	Stairs
	Handrail fixed to plasterboard alone, fix to the stud
	High
	☐
	
	

	28
	Stairs
	Tread 6 loose
	High
	☒
	30/09/26
	PS

	29
	Stairs
	Gap between tread 2 and the string
	Low
	☐
	
	

	30
	Stairs
	Two balusters loose
	High
	☒
	30/09/26
	PS

	31
	Stairs
	Newel not fixed to the structure
	High
	☐
	
	

	32
	Stairs
	Creak on tread 3
	Medium
	☐
	
	

	33
	Landing
	Guarding gap fails the 100 mm sphere check
	High
	☐
	
	

	34
	Bedroom 4
	Fitted wardrobe doors not aligned, gaps not consistent
	Medium
	☐
	
	

	35
	Bedroom 4
	Wardrobe rail loose
	Low
	☐
	
	

	36
	Landing
	Loft hatch does not close well
	Medium
	☐
	
	

	37
	Kitchen-diner door
	Factory-finished door scratched, seen at 0.5 m
	Medium
	☐
	
	

	38
	Door to integral garage
	Fire door gap over 3 mm
	High
	☐
	
	

	39
	Hall door
	Internal glazing bead loose
	Medium
	☐
	
	

	40
	Stairs
	Treads not protected while other trades finish
	Medium
	☐
	
	

	41
	Hall
	Nail holes not filled before decoration
	Low
	☐
	
	

	42
	Kitchen-diner
	Room not left clean and ready for decoration
	Low
	☐
	
	

	43
	
	
	
	☐
	
	

	44
	
	
	
	☐
	
	

	45
	
	
	
	☐
	
	

	46
	
	
	
	☐
	
	

	47
	
	
	
	☐
	
	

	48
	
	
	
	☐
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Worked example. Change it to fit your job before you use it.
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